Typical specification clause for Combihatch

Wall access panels shall be Howe Green Ltd Combihatch series manufactured from electroplated steel with a concealed hinge and fitted with a budget/security lock*, the outer frame is to be fitted with a picture frame/plaster bead*. The door panel shall be metal faced and powder coated to RAL 9003 matt finish. Cut out sizes shall be ….mm X ….mm. Hatches are to be fire rated for 60 minutes to BS 476: Part 20: 1987*. All to be manufactured and supplied by Howe Green Ltd, Marsh Lane, Ware, Herts, SG12 9QQ UK, Tel. +44 (0)1920 463230 and installed in accordance with the manufacturers details and site work guide.

* Delete as appropriate.